## Slide 2
Notes: Current estimate of world growth rate is 1.2 % annually

## Slide 3
400,000
4.86 Billion
7.48 Billion
Notes: Over 400,000 people will be added to the population during the 2 days of this conference
In 1985 there were 4.86 billion in the world
In 2017 there are 7.48 billion
Almost 3 billion in my working career

## Slide 4
Notes: Artwork of Chris Jordan – very informative TED talk

## Slide 5
Notes: One million plastic cups used on airlines every 6 hours -

## Slide 6
Notes: 100,000 aluminum cans every 30 seconds

## Slide 7
Notes: Exponential growth

## Slide 12
Notes: From the U S Energy Information Administration – May 11, 2016 release on International Energy Outlook

## Slide 13: Small Solutions
The question “what can we do?” especially when the problem is large, implies the expectation of a large solution.
But perhaps big problems require small solutions

## Slide 21: Energy density (per m²) for Canadian residential buildings
Chart: 
| space heating: 146 kWh | water heating: 38 kWh | appliances: 31 kWh | lighting: 9 kWh | space cooling: 2 kWh
 | 146 | 38 | 31 | 9 | 2
space heating: 146
water heating: 38
appliances: 31
lighting: 9
space cooling: 2
source: NRCan Energy Use Data Handbook 2010 and Energy Efficiency Trends in Canada 1990-2009, retrieved Nov 2013
author + graphic: Wim
kWh/m2/yr

## Slide 22: PH vs OBC
0.40
0.35
0.30
0.25
0.20
0.15
0.10
0.05
0.00
Passive House space heating demand
90% reduction compared to 2009

## Slide 23: Essential Features

## Slide 24: Compact Design

## Slide 25: Effective Solar Access
Graphic: Lighthouse Sustainable Center Source: Passive Design Tool Kit CoV Author: Wim

## Slide 26: Super-Insulated
FLOOR SLAB ≤ 0.11
(R50)
WALL ≤ 0.11
(R50)
WINDOW ≤ 0.8
IP: 0.14
ROOF ≤ 0.11
(R50)
PH
OBC
FLOOR SLAB: 0.21-0.57
(R10 – 27)
WALL: 0.18-0.42
(R14 – 32)
WINDOW:
1.6-2.0
IP: 0.28 – 0.35
ROOF: 0.11-0.19
(R30 - 52)
Typical U-values (W/m2K ) - Residential (Part 9)
These are only a starting point for PH!
- May be more or less demanding
Nominal vs Effective

## Slide 27: Airtight Envelope
Passive House
≤ 0.6 ach@50Pa
Typical New Build:
3-5 ach@50Pa
The Magic Red Pen
Image Source: PHI
Notes: Airtight layer can be internal and external

## Slide 28: Heat Recovery Ventilation
Whole House Ventilation
Balanced exhaust and supply
Efficient Recovery
Filtering
High Level of Comfort
Frost protection
Image Source: Zehnder
Notes: Subsoil heat exchanger is not necessary in most UK applications.
1995: concept
1997: prototype
2005: 8 systems available on the market
1995: concept
1997: prototype
2005: 8 systems available on the market

## Slide 30
Notes: Shift from Big to Small
Net Zero Communities
Need to reduce consumption while we develop new renewable energy sources

## Slide 32
Notes: The four circles